Labeling:

Labeled 10ug(or 20ug) of BAC clones with Cy5 or Cy3 O/N at 15oC with Vysis nick translation kit. Follow Vysis protocol. Stopped rxn by heating samples at 70oC for 10 min. Cool samples on ICE. Store samples at -20oC or start clean up process.

Remove unincorporated nucleotides by passing through microcon YM-30. As per Jacque’s protocol:

- Add 500ul of TE pH7.4 to the probe and on to microcon-30 column.

- Spin at 12,000xg for~7-8min until volume is minimal.

- Pour off the flow through, add 500ul of TE and spin again ~8 min.

- Invert microcon into new tube and spin for 1 min.

- Estimate the amount of probe and adjust to 60ul.

- Take 2ul and run gel to verify probe size(optional)

Probe ppt.:

- Precipitate each probe (i.e. Cy5 and Cy3) separately-

- Take 30ul of Cy5 or Cy3 labeled probe.

- Add Human cot-1 DNA(1ug/ul) = 6ul

- Salmon sperm DNA (1ug/ul) = 12ul

- Water = 24ul

- 3M sodium acetate = 7.2ul

- EtOH 100% = 180ul

- Incubate the samples at -20oC(2hrs) or on dry ice (15-30min)

- Spin samples at 4oC for 30min

- Wash pellet with 500ul of RT 70%EtOH  and spin for 10min at RT

- Dry pellet at 37oC water bath.

- Resuspend pellet in 6ul of water.

- Combine 1.5ul of each probe (Cy5 and Cy3) with 7ul of Hyb buffer.